Complete (

# Mini Storm Sewer Cleanouts

SPV.0060.

905-_____-_____

Pipe

- Diary entry required.  Bid Item ID: _______________

  - Record pipe markings

- Bill of lading/shipping document required

- Manufacturers certification of compliance required

Pipe Fittings

- Diary entry required.  Bid Item ID: _______________

  - Record fitting markings

- Manufacturer’s recommendations required

Backfill

- Diary entry required.  Bid Item ID: _______________

  - Record source

  - Record material type

| Item No. | Description | Plan Quantity | Final Quantity |
| --- | --- | --- | --- |
| SPV.0060. | Mini Storm Sewer Cleanouts | EACH | EACH |